## LEDs by area
This worksheet is part of Transforming Energy - Buildings Net Zero Energy. For full programme details visit:
https://juliesbicycle.com/our-work/arts-council-programme/
Prices may vary and are approximates only.
Prices referenced are recent historic averages prior to the Russo-Ukraine war.
Latest prices can be found each quarter on gov.co.uk: https://www.gov.uk/government/collections/quarterly-energy-price
For the most up to date prices and tarriffs, we advise getting quotes from suppliers and installers.
INSTRUCTIONS
Using this worksheet you can calculate the payback in terms of energy, cost and carbon from an LED lighting upgrade for a particular area of your building. To do this complete the Green cells. The light level table in columns J and K are the asumptions driving the calculations. Results are the orange cells. You can repeat the exercise for each area of your building.
User input |  |  | Notes
[5 empty] | Lighting level | https://www.engineeringtoolbox.com/light-level-rooms-d_708.html
Floor area | 100 | m2 | Internal lit floor area in m2 - there are 10.78 ft2 in a m2 |  | name | lux
Number of hours per year | 2200 | hours | For annual calculations: 8-6 Monday to Friday is 2600 hours - all year is 8760 hours - 10 hours per day Mon-Sun is 3650 hours |  | Public areas with dark surroundings | 35
Light levels | Easy office work |  |  |  | Simple orientation for short visits | 75
Old lighting | fluorescent (strips or CFL) |  | If you don’t know, we suggest this is treated as fluorescent |  | Areas with traffic and corridors - stairways, escalators and travelators - lifts - storage spaces | 100
Electricity cost per kWh | 15 | p/kWh | This varies, but for reference: 15p/kWh is historic - current is 25p/kWh (Q1 2023) - future may be 25 p/kWh |  | Working areas where visual tasks are only occasionally performed | 125
Fitting types | simple - like for like |  | Gives cost per Watt installed |  | Warehouses, homes, theaters, archives, loading bays | 150
Occupancy | occupied half the time in working hours |  |  |  | Coffee break room, technical facilities, ball-mill areas, pulp plants, waiting rooms, | 200
Daylight natural | medium |  |  |  | Easy office work | 250
Use occupancy sensors | no |  |  |  | Class rooms | 300
Use daylight compensation | no |  |  |  | Normal office work, PC work, study library, groceries, show rooms, laboratories, check-out areas, kitchens, auditoriums | 500
[5 empty] | Supermarkets, mechanical workshops, office landscapes | 750
[5 empty] | Normal drawing work, detailed mechanical workshops, operation theaters | 1000
Internal calculations
[5 empty] | Old lighting | https://en.wikipedia.org/wiki/Luminous_efficacy
Old lumens per Watt | #NAME? |  |  |  | name | lumens per Watt
New lumens per Watt | 180 |  | Typical LEDs |  | incandescent | 17.5
[5 empty] | halogen | 20
Lux required | #NAME? |  |  |  | fluorescent (strips or CFL) | 80
[5 empty] | don't know | 80
Old Watts required | #NAME?
New Watts required | #NAME? |  |  |  | Fitting types
[5 empty] | name | £ per Watt
Basic cost per Watt | #NAME? |  |  |  | simple - like for like | 1
Sensors cost per Watt | #NAME? |  |  |  | fitting replacement | 2
[5 empty] | complex bespoke | 3
Total cost per Watt installed | #NAME?
Sensors additional costs
[5 empty] | name | £ per Watt
Total cost installed | #NAME? |  |  |  | occupancy sensors | 0.5
[5 empty] | daylight compensation | 0.5
kWh per year old | #NAME?
kWh per year new basic | #NAME? |  |  |  | Occupancy
Fractional reduction due to occupancy sensors | #NAME? |  |  |  | name | fract savings if occupancy sensors
Fractional reduction due to daylight compensation | #NAME? |  |  |  | constantly occupied in working hours | 0.1
kWh per year total with sensors | #NAME? |  |  |  | occupied half the time in working hours | 0.25 | Half of the potential saving if they were left on constantly
[5 empty] | rarely occupied | 0.45 | Half of the potential saving if they were left on constantly
National Grid electricity intensity | 0.199 | kgCO2e/kWh |  |  | Daylight levels
Energy saving per year | #NAME? | kWh |  |  | name | fract savings from daylight sensors
Cost saving per year | #NAME? | £ |  |  | low | 0.1
Carbon saving per year | #NAME? | kgCO2e |  |  | medium | 0.2
Simple payback | #NAME? | years |  |  | high | 0.5
[5 empty] | name | return value
[5 empty] | yes | 1
[5 empty] | no | 0
Results displayed
| investment (£) | annual energy saving (kWh) | annual cost saving (£) | payback (yrs)
LEDs | #NAME? | #NAME? | #NAME? | #NAME?
Simple 5 year cost saving | #NAME? | £
Simple 10 year cost saving | #NAME? | £
10 year carbon saving | #NAME? | kgCO2e

## LEDs by bulb
Instructions: Using this worksheet you can calculate the energy, cost and carbon savings from installing LEDs for production lights. For production lighting we use the actual powers of the old units. To do this complete the Green cells. The old lighting able in columns L and M for the assumptions driving calculations. Results are the orange cells.
User input |  |  | Notes
[5 empty] | Old lighting | https://en.wikipedia.org/wiki/Luminous_efficacy
number of units | 30 |  |  |  | name | lumens per Watt
number of hours per year | 500 | hours |  |  | gas mantle | 1.5
power of each unit | 700 | Watts |  |  | incandescent | 17.5
old lamp type | sulfur |  |  |  | halogen | 20
new cost per Watt | 5 | £ | This needs research |  | carbon arc | 4.5
electricity cost per kWh | 15 | p/kWh | 15p/kWh is historic - current is 25p/kWh - future may be 25 p/kWh |  | xenon arc | 60
[5 empty] | mercury-xenon arc | 52.5
[5 empty] | high pressure mercury vapour arc | 68
[5 empty] | high pressure mercury vapour arc lamp with reflector for projectors | 40
[5 empty] | fluorescent | 80
[5 empty] | sulfur | 100
[5 empty] | metal-halide | 95
Internal calculations |  |  |  |  | high pressure sodium | 120
[5 empty] | low pressure sodium | 150
old lumens per Watt | #NAME?
new lumens per Watt | 180
new Watts required | #NAME?
new lamps cost | #NAME? | £
old kWh per year | 10500
new kWh per year | #NAME?
grid intensity | 0.199 | kgCO2e/kWh
energy saving per year | #NAME? | kWh
cost saving per year | #NAME? | £
carbon saving per year | #NAME? | kgCO2e
simple payback | #NAME? | years
Results displayed
| investment (£) | annual energy saving (kWh) | annual cost saving (£) | payback (yrs)
LED | #NAME? | #NAME? | #NAME? | #NAME?
simple 5 year cost saving | #NAME? | £
simple 10 year cost saving | #NAME? | £
simple 20 year cost saving | #NAME? | £
10 year carbon saving | #NAME? | kgCO2e