## Night Audit
This worksheet is part of Transforming Energy - Buildings Net Zero Energy. For full programme details visit:
https://juliesbicycle.com/our-work/arts-council-programme/
Prices may vary and are approximates only. Prices referenced are recent historic averages prior to the Russo-Ukraine war. Latest prices can be found each quarter on gov.co.uk: https://www.gov.uk/government/collections/quarterly-energy-prices For the most up to date prices and tarriffs, we advise getting quotes from suppliers and installers.
INSTRUCTIONS
Use this worksheet to build an understanding of your building's overnight energy use and identify energy waste: 1. Calculate your overnight energy consumption by looking either at your half-hourly data or by taking a meter reading at night and then early in the morning when the building is not occupied - e.g. for a theatre this might be at 12am once the show has finished and the building is closed up and before the cleaners come in in the morning - e.g. 6am. Subtract the two readings and this is the overnight energy for the building. In cell J19, put the number of hours overnight - in this case it would be 6 hours. In cell J18 you can specify the pence per kWh you pay for electricity. 2. After-hours walk around each area of your building, taking notes of all the equipment that is left on. We recommend taking a clipboard and naming each room and area and what you find. Note not only what is on, but also if you feel areas are too hot or too cold due to temperature conditioning. 3. In this worksheet - list all the equipment that should be on at night in the table below - look at the power demand of the equipment - if not sure you can do a web search to find the power specification of similar equipment. This worksheet, once completed, will present results on what the expected overnight energy use is and what the actual energy use is. You can then look at all the equipment left on and see if this accounts for the variance. Often energy waste is linked to Building Management Systems - BMS (if you have one) not being properly scheduled to link with actual occupancy hours or automatic controls becoming defaults. The usual suspect is staff not turning things off once they leave a space (which can be due to them not actually knowing what to turn off and where the off switches are - this is why a Switch-off campaign needs to be about the training and instructions to be successful to reducing overnight energy use).
Change ony the values in green cells. Results in the orange cells.
[6 empty] | electricity cost per kWh | 30 | p
equipment | power - kW | number | total power - W | annual night time energy use - kWh | annual night time cost £ | number of night time hours | 12
emergency lights | 1.5 | 1 | 1.5 | 6570 | 1971
CCTV | 0.75 | 1 | 0.75 | 3285 | 985.5
alarm systems | 2 | 1 | 2 | 8760 | 2628
server rooms | 3 | 2 | 6 | 26280 | 7884
server cooling | 0.6 | 2 | 1.2 | 5256 | 1576.8
computers | 0.3 | 25 | 7.5 | 32850 | 9855
pump | 3 | 2 | 6 | 26280 | 7884
AHU fans | 3 | 1 | 3 | 13140 | 3942
totals |  |  | 27.95 | 122421 | 36726.3
[6 empty] | total night time power (kW) | 27.95
[6 empty] | actual night time power (kW) | 50 | From monitoring or meter reading.
[6 empty] | potential saving (kW) | 22.05
[6 empty] | potential annual saving (kWh) | 96579
[6 empty] | potential annual saving (£) | 28973.7