## PV
This worksheet is part of Transforming Energy - Buildings Net Zero Energy. For full programme details visit:
https://juliesbicycle.com/our-work/arts-council-programme/
Prices may vary and are approximates only.
Prices referenced are recent historic averages prior to the Russo-Ukraine war.
Latest prices can be found each quarter on gov.co.uk: https://www.gov.uk/government/collections/quarterly-energy-price
For the most up to date prices and tarriffs, we advise getting quotes from suppliers and installers.
INSTRUCTIONS
Using this worksheet you can calculate the return-on-investment in terms of energy and cost saving from installing on-site PV. Complete the green cells. Results will be in the orange cells. The PV cost tables in columns I to L are used to drive the calculations.
User input
area of unshaded south facing roof | 200 | m2
electricity cost per kWh | 15 | p/kWh
Internal calculations
Area available for panels | 160 | m2
kWp | 25.6 | kWp
kWh per year generated | 21333.3333 | kWh generated in total per year
Cost per installed kWp | 1123.3462 |  | fitted the curve to DEFRA data
Ttotal installed cost | 28757.6624 | £
Cost per m2 | 179.7354
Saving per year | 3200 | £
https://www.gov.uk/government/statistics/solar-pv-cost-data
| investment (£) | annual energy generation (kWh) | annual cost saving (£) | payback (yrs)
PV | 28757.6624 | 21333.3333 | 3200 | 8.9868 | size | kW av | £ per kW installed | cost per m2
[5 empty] | 0-4 kW | 2 | 1876 | 300.16 |  | DEFRA
[5 empty] | 4-10 kW | 7 | 1605 | 256.8 |  | DEFRA
[5 empty] | 10-50 kW | 30 | 1132 | 181.12 |  | DEFRA
[5 empty] | 50kW + | 100 | 625 | 100 |  | told to me by a solar company
[5 empty] | https://www.jojusolar.co.uk/faqs-solar-power/ |  |  |  | kW produced in bright sunshine
for standard efficiency of 16%, each kWp takes up 6.25 m2
[5 empty] | kWp/m2 | 0.16
[5 empty] | kWh/kWp | 833.3333
[5 empty] | kWh/m2 | 133.3333